[Your logo]

Risk assessment and method statement

# Solar PV and battery storage RAMS

Install roof-mounted solar PV and battery storage. Pre-filled with typical hazards, controls and sequence: edit it for this site.

Management of Health and Safety at Work Regulations 1999, regulation 3. Work at Height 2005 and Electricity at Work 1989.

| Detail | Entry |
| --- | --- |
| Project |  |
| Site address |  |
| Activity | Install roof-mounted solar PV and battery storage |
| RAMS reference |  |
| Contractor carrying out the work |  |
| Principal contractor |  |
| Prepared by |  |
| Approved by |  |
| Revision |  |
| Date |  |

Revision record. Reissue and rebrief when the sequence, the programme, the team or the conditions change.

| Rev | Date | What changed | By |
| --- | --- | --- | --- |

THE WORK

# The activity, the place and the people

## Scope of the activity

Install a [kWp] roof-mounted solar PV array of [number] panels on [roof slope or area], with mounting kit, DC cabling, isolators, [inverter / microinverters], [battery storage of kWh] and the AC connection at [consumer unit or board]. Testing, commissioning and certification. Not included: [list any exclusions].

## Location and access

Site access via [gate]. Scaffold with edge protection to [elevations], handed over before use. Panels raised by [ladder hoist / scaffold hoist / crane] at [position] and stored at [area]. Footpath on [elevation] kept open or closed by agreement. Power off [date and time]. Hours [08:00 to 17:00].

## Interfaces with other trades

Scaffolding contractor for access and handover. Building occupants: [occupied / empty], told when power will be off. Network operator for [G98 notification / G99 application]. Roofer for any repairs to the covering. Other trades kept outside the exclusion zone.

## Documents this RAMS relies on

Roof survey and structural assessment [ref]. Asbestos survey [ref]. System design and string schedule [ref]. Scaffold handover certificate. Lift plan for any crane lift, network operator paperwork, battery installation instructions and rescue plan.

## Programme

| Start date | Duration | Working hours |
| --- | --- | --- |

## The team, and their competence

| Role | Name | Card, ticket or training needed | Contact |
| --- | --- | --- | --- |
| Electricians |  | Qualified electrician, competent in PV and battery systems, with an ECS card for the grade of work. |  |
| Roof installers |  | CSCS card for their occupation, and experienced in roof work, with trainees supervised. |  |
| Supervisor |  | Experienced installer, on the roof or at the job throughout. |  |
| Designer |  | Competent in solar PV design, to assess the building and roof before the system is designed. |  |
| Hoist and crane lifts |  | Trained in the hoist; crane lifts planned by a competent person. |  |
| Asbestos |  | Asbestos awareness training for everyone liable to disturb it. |  |

METHOD STATEMENT

# The sequence of work

The order the team will work in on the day, with the controls built into each stage. If the sequence changes on site, revise the RAMS and brief it again.

| Stage | What is done, and how | Controls at this stage | By |
| --- | --- | --- | --- |
| Survey and design | Survey the roof from below or the scaffold: covering, structure, fragile areas, edges, asbestos and power lines. Design the array, cable routes, inverter and battery positions, and confirm the network operator route. | Building assessed by a competent person; G99 application approved before installation where needed, otherwise G98 notification planned. | Designer |
| Before the day | Book the scaffold, hoist and any crane. Agree working areas, parking and the electrical shutdown with the client, and tell occupants when power will be off. | Scaffold designed for the roof; lift plan for any crane lift; RAMS approved before work starts. | Contracts manager |
| Arrival and briefing | Sign in, attend the induction, then brief the team on this RAMS, the fragile areas, live DC and the rescue plan. Check the hoist, tools and test equipment. | Briefing signed against this revision; scaffold handover certificate seen; pre-use checks recorded. | Supervisor |
| Set up below the roof | Set up the exclusion zone, the hoist area and somewhere to store panels. Protect the footpath and any access the occupants need. | Physical barriers, not tape; panels stored flat and secured; no lifting over the public. | Supervisor |
| Fix roof hooks and rails | Lift tiles or slates, fix the roof hooks to the rafters, cut tiles to fit round them and fix the rails, working from the scaffold or roof ladders. | Edge protection in place; fragile areas protected; tiles cut by hand or with dust controls. | Installers |
| Raise and fix panels | Raise the panels by hoist, move them along the scaffold and fix them to the rails with the specified clamps. | Two people per panel; wind checked; nobody under a panel being raised. | Installers |
| Connect the DC strings | Connect the panels into strings and run the DC cables to the isolator and inverter, keeping each string end isolated until it is terminated. | DC treated as live; positive and negative never exposed together; correct crimping tool; warning signs. | Electrician |
| Inverter and battery | Fix the inverter and battery in the agreed positions, run the cables and fit isolators and labels. Connect the battery last. | Battery location to PAS 63100; battery treated as live; insulated tools; two-person lift. | Electrician |
| Connect to the AC supply | Isolate the supply, lock off and prove dead, then connect the inverter circuit at the consumer unit or distribution board. | Safe isolation recorded; every source of supply found; power restored only when the work is complete. | Electrician |
| Commission and hand over | Test and commission the system, fit the warning labels, and complete the certificates. Clear the roof and the area below, and hand over with the documents. | Certified to BS 7671; labels fitted; network operator paperwork done; scaffold struck only after the roof is checked. | Supervisor |

RISK ASSESSMENT

# Hazards, controls and the risk that remains

Each significant hazard rated before and after its controls, as likelihood (1 to 5) times severity (1 to 5). Bands: 1 to 4 low, 5 to 12 medium, 15 to 25 high. The ratings are typical: check them for this site.

| Hazard | Who could be harmed, and how | Risk before | Controls | Risk after | By |
| --- | --- | --- | --- | --- | --- |
| Falls from the roof edge | Installers fixing rails and panels, and anyone else working on the roof. | 4 x 5 = 20 High | • Scaffold with a boarded platform, double guard-rails and toe boards along the eaves of the roof slope being worked on. • Edge protection extending 2 metres past each side of the work area, as CITB guidance advises, with gable end protection where the array is closer than that. • Scaffold handover certificate in place, and inspected at least every 7 days and after high winds. | 1 x 5 = 5 Medium | Supervisor |
| Falls through fragile roofs and rooflights | Installers on sheeted commercial and farm roofs, and near rooflights on any roof. | 4 x 5 = 20 High | • Roof treated as fragile until a competent person confirms it is not; fragile areas marked on the survey. • Nobody stands on or works within 2 metres of a fragile surface unless barriers or covers stop them reaching it. • Staging to cross the roof, safety nets below where needed, and warning notices at each approach. | 1 x 5 = 5 Medium | Supervisor |
| Slipping on the roof covering | Installers on tiles, slates, sheets and membranes, worse when wet, icy or covered in moss. | 3 x 4 = 12 Medium | • Roof ladders or staging anchored over the ridge, and no walking on fitted panels. • Roof checked for frost, moss and wet before anyone goes on it, and work stopped when the weather puts people at risk. | 2 x 4 = 8 Medium |  |
| Getting panels onto the roof | The team loading out and anyone below, from panels dropped while being raised. | 3 x 4 = 12 Medium | • Panels raised by ladder hoist, scaffold hoist or crane, not carried up a ladder. • Lifting equipment thoroughly examined under LOLER, with the report in date; lift plan for any crane lift. • Exclusion zone below the lift, and nobody under a panel being raised. | 1 x 4 = 4 Low | Supervisor |
| Handling panels on the roof | Installers carrying and positioning large panels on a slope or at the edge. | 3 x 3 = 9 Medium | • Panels moved along the scaffold platform rather than across the roof wherever possible. • Two people to carry and place each panel, with a clear route and stacks kept within the scaffold loading. • Panels kept in their packaging or secured flat until each one is fixed. | 2 x 3 = 6 Medium |  |
| Wind catching panels | Installers carrying panels at height, where a gust can pull a person off balance. | 3 x 4 = 12 Medium | • Forecast checked each morning and wind checked at roof level before panels go up. • Panel handling stopped when wind makes panels hard to control; loose panels and offcuts secured at the end of each day. | 2 x 4 = 8 Medium |  |
| Falling materials and tools | The public, residents, other trades and the team below the roof. | 3 x 4 = 12 Medium | • Toe boards on the scaffold, and brick guards where materials are stacked above toe board height. • Nothing thrown or dropped from the roof; packaging and offcuts lowered in bags or by hoist. • Exclusion zone below the work, with the footpath closed or protected where the public pass. | 1 x 4 = 4 Low |  |
| Roof structure overloaded or damaged | Installers on the roof, and occupants below a roof that cannot take the extra load. | 2 x 4 = 8 Medium | • Building assessed by a competent person before design, including the roof structure and fixings. • Mounting kit approved to work together and fixed to the manufacturer's instructions and the MCS standard. • Panels and rails stacked in small loads spread over the structure, never on a fragile area. | 1 x 4 = 4 Low | Designer |
| Electric shock from live DC cabling | Installers connecting panels and strings, which are live in daylight and cannot be switched off. | 3 x 5 = 15 High | • Every PV conductor treated as live in daylight; tested for voltage before touching any part of the system. • Strings connected so that positive and negative are never exposed together; ends kept in an isolation box until connected. • Where live working cannot be avoided, insulated gloves and tools, or the array covered with opaque sheeting. • Warning signs and barriers while live DC cables are run. | 1 x 5 = 5 Medium | Electrician |
| DC arcs and fire from poor connections | Installers and occupants, from connectors pulled apart under load or badly crimped. | 3 x 5 = 15 High | • DC connectors never used as a switch; AC off and DC isolator opened before any connector is separated. • Connectors assembled with the correct tools and procedure, as the MCS standard requires, and only mated with the same make and type. • Connectors kept out of standing water, and arc fault detection in the inverter enabled where it has one. | 1 x 5 = 5 Medium | Electrician |
| Connecting to the AC supply | Electricians working at the consumer unit or distribution board, and occupants of the building. | 3 x 5 = 15 High | • Safe isolation at the point of supply: isolate, lock off, post a notice, then prove dead with a proved tester. • Every source of supply found, including an existing PV system, generator or battery, before work starts. • Work tested and certified to BS 7671 before the system is switched on. | 1 x 5 = 5 Medium | Electrician |
| Battery storage installation | Installers handling and connecting heavy battery units, and occupants of the building. | 3 x 5 = 15 High | • Battery treated as live at all times; connected last, to the maker's instructions, with insulated tools. • In homes, battery location agreed to PAS 63100: outdoors where practicable, never in a loft or roof void. • Units moved by trolley or two-person lift, to the data sheet weight. • A dropped or damaged unit is not fitted; it is kept outdoors, away from the building, and returned. | 1 x 5 = 5 Medium | Electrician |
| Working in lofts and roof spaces | Installers running cables and fixing equipment in roof spaces. | 3 x 3 = 9 Medium | • Boards laid across joists to work from, so nobody steps through a ceiling. • Loft checked for bare wires and damaged cables before work, and lighting provided. • Time in hot lofts limited in summer, with water and breaks. | 2 x 3 = 6 Medium |  |
| Asbestos in older roofs and roof spaces | Installers on fibre cement sheet roofs, and in lofts, soffits and flues of older buildings. | 3 x 5 = 15 High | • Asbestos survey checked before work; where there is doubt, suspect material assumed to be asbestos. • No drilling or cutting into suspect sheets or boards; fixings and routes moved or the material dealt with first. • Asbestos awareness training for the whole team. | 1 x 5 = 5 Medium |  |
| Dust from cutting tiles and drilling | Installers cutting tiles for hooks and drilling through walls for cables. | 3 x 3 = 9 Medium | • Tiles cut with a hand cutter where possible, or a saw with water or on-tool extraction. • On-tool extraction for drilling through masonry, with FFP3 RPE on top of the dust controls. | 2 x 3 = 6 Medium |  |
| Overhead power lines | Installers raising panels, rails and ladders near lines at the roof or the property boundary. | 2 x 5 = 10 Medium | • Lines identified at the survey and the network operator contacted where the work or a lift comes close. • No panels, rails or metal ladders raised within reach of a live line. | 1 x 5 = 5 Medium |  |
| Rescue after a fall or shock | An installer injured on the roof, suspended in a harness or hurt by an electric shock. | 2 x 5 = 10 Medium | • Written rescue plan before work starts, with equipment on site and the team shown how to use it. • Nobody works alone on the roof or on electrical connections; first aider on site. | 1 x 5 = 5 Medium |  |

MHSWR regulation 3(6): with five or more employees, record the significant findings.

EQUIPMENT

# Plant, equipment and PPE

| Item | Checks and certificates | Operator competence |
| --- | --- | --- |
| Ladder hoist or scaffold hoist | LOLER thorough examination in date; pre-use check daily. | Trained operator |
| Roof ladders and staging | Checked before use, anchored over the ridge. | Installers |
| Voltage tester and proving unit | Rated for the DC voltage; proved before and after each test. | Electrician |
| DC connector crimping tool | The tool the connector maker specifies; checked before use. | Electrician |
| Insulated hand tools | Checked for damage to the insulation before use. | Electrician |
| Battery trolley | Rated for the battery weight; checked before use. | Installers |

## Personal protective equipment

PPE is the last line of defence, after the controls above. Specify the type, not just the item.

| Item | Needed | Type and specification |
| --- | --- | --- |
| Safety helmet | Yes | Below the roof and on the scaffold |
| Safety footwear | Yes | Safety boots with flexible grip sole |
| High-visibility clothing | Yes | At ground level and loading out |
| Gloves | Yes | Handling gloves; insulating gloves for DC |
| Eye protection | Yes | Cutting, drilling and live parts |
| Hearing protection |  |  |
| Respiratory protection | Yes | FFP3 for cutting tiles and drilling |
| Harness or restraint | Yes | Where collective protection does not cover |

CONTROLS

# Substances, permits, emergencies and the environment

## Hazardous substances

| Substance | COSHH assessment reference | Controls |
| --- | --- | --- |
| Dust from cutting tiles and drilling masonry | [ref] | Hand cutting or on-tool water or extraction; FFP3 RPE. |
| Sealant for cable entries and roof penetrations | [ref] | Safety data sheet followed; gloves; ventilation indoors. |

## Permits and plans

| Permit or plan | Needed | Reference |
| --- | --- | --- |
| Hot work permit |  |  |
| Permit to work | Yes |  |
| Permit to dig or break ground |  |  |
| Confined space entry |  |  |
| Lift plan | Yes |  |
| Temporary works design |  |  |

## Emergency and rescue

Rescue plan for an installer injured on the roof. Electric shock procedure briefed: isolate where it is safe to, do not touch the person until they are clear of the supply, call 999. First aider on site, and the nearest accident and emergency department named on the briefing.

## Environment and neighbours

Panel packaging, pallets and offcuts removed from site and recycled where possible. Any old panels or batteries returned through a take-back route, not a general skip. Asbestos waste handled under the asbestos plan. Roof left watertight and secure each night.

DC AND ROOF CHECK

# Roof access and DC isolation check

Fill in before work starts each day, and again before any DC or battery connection. Work does not start until every line is acceptable.

| Check | What acceptable looks like | Result | Action taken and by whom |
| --- | --- | --- | --- |
| Scaffold and edge protection | Handover certificate in place; guard-rails along the eaves and 2 metres past the work |  |  |
| Fragile areas | Rooflights and fragile sheets covered or barriered; warning notices posted |  |  |
| Area below | Exclusion zone set; no lifting over the public |  |  |
| Hoist | LOLER report in date; pre-use check done |  |  |
| Weather | Wind checked at roof level; roof not wet or icy |  |  |
| DC string ends | Isolated and labelled until terminated; positive and negative never exposed together |  |  |
| DC isolator and AC supply | AC off and DC isolator open before any connector is separated |  |  |
| Battery | Location agreed; connected last, to the manufacturer's instructions |  |  |
| Test equipment | Rated for the DC voltage; proved before and after use |  |  |
| Rescue | Rescue kit on site; team briefed; nobody working alone |  |  |

Work at Height Regulations 2005, regulations 4, 6 and 9; Electricity at Work Regulations 1989, regulations 12 and 14; MCS MIS 3002; BSI PAS 63100.

BRIEFING RECORD

# Briefed before the work starts

Each person signs against this revision, on the day, before starting. Anyone joining later is briefed before they join the work. When the RAMS is revised, everyone is briefed again.

| Briefed by | Revision briefed | Date and time |
| --- | --- | --- |

| Name | Company | Card or ticket number | Signature | Date |
| --- | --- | --- | --- | --- |